## Sheet1
|  | Sample | Sample ID | Sample Amount | Nitrogen | Nitrogen | Nitrogen | Nitrogen | Nitrogen | Nitrogen | Nitrogen | Carbon | Carbon | Carbon | Carbon | Carbon | Carbon | Carbon | notes
[5 empty] | Reten. Time [min] | Response | Weight [mg] | Weight [%] | Peak Type | Element Name | Carbon Response Ratio | Reten. Time [min] | Response | Weight [mg] | Weight [%] | Peak Type | Element Name | Carbon Response Ratio
Peach 0_2_12_2025 9_39_00 AM_002 | INT7 - 1 | Peach Bypass | Peach 0 | 0 | 2.1 | 5.797 | 0.001 | 100 | Ordnr | Nitrogen | ???
Calib\Std 1_2_12_2025 9_45_00 AM_003 | INT7 - 1 | Peach Standard 1 | Std 1 | 0.88 | 2.02 | 175.624 | 0.028 | 3.15 | Ordnr | Nitrogen | 0.025 | 3.36 | 6971.265 | 0.355 | 40.33 | Ordnr | Carbon | 1
Calib\Std 2_2_12_2025 9_51_00 AM_004 | INT7 - 1 | Peach Standard 2 | Std 2 | 1.464 | 2.02 | 288.412 | 0.045 | 3.09 | Ordnr | Nitrogen | 0.026 | 3.32 | 11226.846 | 0.754 | 51.53 | Ordnr | Carbon | 1
Calib\Std 3_2_12_2025 9_57_01 AM_005 | INT7 - 1 | Peach Standard 3 | Std 3 | 2.92 | 2.02 | 448.161 | 0.07 | 2.39 | Ordnr | Nitrogen | 0.026 | 3.24 | 17083.286 | 1.195 | 40.92 | Ordnr | Carbon | 1
Calib\Std 4_2_12_2025 10_03_01 AM_006 | INT7 - 1 | Peach Standard 4 | Std 4 | 2.918 | 2.02 | 581.126 | 0.09 | 3.1 | Ordnr | Nitrogen | 0.027 | 3.2 | 21351.191 | 1.469 | 50.36 | Ordnr | Carbon | 1
Calib\Std 5_2_12_2025 10_09_01 AM_007 | INT7 - 1 | Peach Standard 5 | Std 5 | 4.043 | 2.04 | 804.796 | 0.125 | 3.09 | Ordnr | Nitrogen | 0.028 | 3.14 | 28754.444 | 1.887 | 46.68 | Ordnr | Carbon | 1
BRS1_2_12_2025 11_12_54 AM_008 | INT7 - 1 | BRS1 | BRS1 | 9.132 | 2.02 | 121.771 | 0.018 | 0.2 | Ordnr | Nitrogen | 0.024 | 3.4 | 4996.663 | 0.295 | 3.23 | Ordnr | Carbon | 1
CCE343_2_12_2025 11_18_54 AM_009 | INT7 - 1 | CCE343 | CCE343 | 39.859 | 2.02 | 177.768 | 0.027 | 0.07 | Ordnr | Nitrogen | 0.024 | 3.38 | 7346.435 | 0.432 | 1.08 | Ordnr | Carbon | 1
CCE340_2_12_2025 11_24_55 AM_010 | INT7 - 1 | CCE340 | CCE340 | 39.914 | 2.04 | 181.754 | 0.027 | 0.07 | Ordnr | Nitrogen | 0.024 | 3.38 | 7560.029 | 0.445 | 1.11 | Ordnr | Carbon | 1
CCE334_2_12_2025 11_30_55 AM_011 | INT7 - 1 | CCE334 | CCE334 | 40.169 | 2.04 | 299.314 | 0.044 | 0.11 | Ordnr | Nitrogen | 0.019 | 3.28 | 15614.902 | 0.943 | 2.35 | Ordnr | Carbon | 1
CCE323_2_12_2025 11_36_56 AM_012 | INT7 - 1 | CCE323 | CCE323 | 39.608 | 2.2 | 6.011 | 0.001 | 0 | Ordnr | Nitrogen | ??? | [7 empty] | not run, burst
CCE326_2_12_2025 11_42_56 AM_013 | INT7 - 1 | CCE326 | CCE326 | 39.965 | 2.04 | 171.55 | 0.026 | 0.06 | Ordnr | Nitrogen | 0.022 | 3.38 | 7865.265 | 0.463 | 1.16 | Ordnr | Carbon | 1
CCE307_2_12_2025 11_48_57 AM_014 | INT7 - 1 | CCE307 | CCE307 | 39.399 | 2.04 | 186.59 | 0.028 | 0.07 | Ordnr | Nitrogen | 0.024 | 3.38 | 7747.537 | 0.456 | 1.16 | Ordnr | Carbon | 1
CCE286_2_12_2025 11_54_57 AM_015 | INT7 - 1 | CCE286 | CCE286 | 20.015 | 2.04 | 289.967 | 0.043 | 0.21 | Ordnr | Nitrogen | 0.021 | 3.32 | 13768.205 | 0.824 | 4.12 | Ordnr | Carbon | 1
CCE298_2_12_2025 12_00_58 PM_016 | INT7 - 1 | CCE298 | CCE298 | 30.007 | 2.04 | 181.832 | 0.027 | 0.09 | Ordnr | Nitrogen | 0.023 | 3.38 | 7788.853 | 0.458 | 1.53 | Ordnr | Carbon | 1
CCE337_2_12_2025 12_06_59 PM_017 | INT7 - 1 | CCE337 | CCE337 | 41.845 | 2.02 | 161.114 | 0.024 | 0.06 | Ordnr | Nitrogen | 0.021 | 3.36 | 7555.283 | 0.444 | 1.06 | Ordnr | Carbon | 1
CCE310_2_12_2025 12_12_59 PM_018 | INT7 - 1 | CCE310 | CCE310 | 40.37 | 2.06 | 153.699 | 0.023 | 0.06 | Ordnr | Nitrogen | 0.031 | 3.42 | 5028.293 | 0.297 | 0.74 | Ordnr | Carbon | 1 | close enough to stds to use
CCE318_2_12_2025 12_19_00 PM_019 | INT7 - 1 | CCE318 | CCE318 | 19.932 | 2.02 | 217.679 | 0.032 | 0.16 | Ordnr | Nitrogen | 0.023 | 3.36 | 9642.256 | 0.569 | 2.86 | Ordnr | Carbon | 1
CCE320_2_12_2025 12_25_00 PM_020 | INT7 - 1 | CCE320 | CCE320 | 39.963 | 2.16 | 5.912 | 0.001 | 0 | Ordnr | Nitrogen | ??? | [7 empty] | not run, burst
CCE335_2_12_2025 12_31_01 PM_021 | INT7 - 1 | CCE335 | CCE335 | 20.018 | 2.04 | 100.814 | 0.015 | 0.08 | Ordnr | Nitrogen | 0.017 | 3.4 | 5822.237 | 0.343 | 1.71 | Ordnr | Carbon | 1 | flagged, low
CCE332_2_12_2025 12_37_01 PM_022 | INT7 - 1 | CCE332 | CCE332 | 20.034 | 2.04 | 334.145 | 0.05 | 0.25 | Ordnr | Nitrogen | 0.023 | 3.3 | 14401.276 | 0.865 | 4.32 | Ordnr | Carbon | 1
CCE306_2_12_2025 12_43_03 PM_023 | INT7 - 1 | CCE306 | CCE306 | 39.849 | 2.04 | 309.025 | 0.046 | 0.12 | Ordnr | Nitrogen | 0.024 | 3.32 | 12759.081 | 0.761 | 1.91 | Ordnr | Carbon | 1
BRS2_2_12_2025 12_49_04 PM_024 | INT7 - 1 | BRS2 | BRS2 | 12.682 | 2 | 163.518 | 0.024 | 0.19 | Ordnr | Nitrogen | 0.025 | 3.38 | 6662.149 | 0.392 | 3.09 | Ordnr | Carbon | 1
CCE231_2_12_2025 12_55_05 PM_025 | INT7 - 1 | CCE231 | CCE231 | 39.939 | 2.04 | 322.253 | 0.048 | 0.12 | Ordnr | Nitrogen | 0.017 | 3.26 | 19457.761 | 1.199 | 3 | Ordnr | Carbon | 1
CCE175_2_12_2025 1_01_06 PM_026 | INT7 - 1 | CCE175 | CCE175 | 10.545 | 2.02 | 393.985 | 0.058 | 0.55 | Ordnr | Nitrogen | 0.02 | 3.24 | 19923.099 | 1.23 | 11.67 | Ordnr | Carbon | 1
CCE145_2_12_2025 1_07_07 PM_027 | INT7 - 1 | CCE145 | CCE145 | 40.909 | 2.04 | 178.963 | 0.027 | 0.07 | Ordnr | Nitrogen | 0.025 | 3.4 | 7148.57 | 0.42 | 1.03 | Ordnr | Carbon | 1
CCE146_2_12_2025 1_13_07 PM_028 | INT7 - 1 | CCE146 | CCE146 | 40.72 | 2.04 | 269.689 | 0.04 | 0.1 | Ordnr | Nitrogen | 0.021 | 3.34 | 12869.375 | 0.768 | 1.89 | Ordnr | Carbon | 1
CCE147_2_12_2025 1_19_07 PM_029 | INT7 - 1 | CCE147 | CCE147 | 40.709 | 2.04 | 233.502 | 0.035 | 0.09 | Ordnr | Nitrogen | 0.023 | 3.36 | 9995.987 | 0.591 | 1.45 | Ordnr | Carbon | 1
CCE118_2_12_2025 1_25_07 PM_030 | INT7 - 1 | CCE118 | CCE118 | 39.67 | 2.06 | 202.612 | 0.03 | 0.08 | Ordnr | Nitrogen | 0.03 | 3.42 | 6838.744 | 0.402 | 1.01 | Ordnr | Carbon | 1
CCE121_2_12_2025 1_31_09 PM_031 | INT7 - 1 | CCE121 | CCE121 | 40.039 | 2.04 | 176.556 | 0.026 | 0.07 | Ordnr | Nitrogen | 0.031 | 3.4 | 5691.77 | 0.335 | 0.84 | Ordnr | Carbon | 1 | close enough to stds to use
CCE124_2_12_2025 1_37_09 PM_032 | INT7 - 1 | CCE124 | CCE124 | 40.665 | 2.06 | 250.071 | 0.037 | 0.09 | Ordnr | Nitrogen | 0.025 | 3.38 | 9901.313 | 0.585 | 1.44 | Ordnr | Carbon | 1
CCE126_2_12_2025 1_43_09 PM_033 | INT7 - 1 | CCE126 | CCE126 | 40.804 | 2.06 | 297.988 | 0.044 | 0.11 | Ordnr | Nitrogen | 0.019 | 3.3 | 15972.239 | 0.966 | 2.37 | Ordnr | Carbon | 1
CCE127_2_12_2025 1_49_09 PM_034 | INT7 - 1 | CCE127 | CCE127 | 39.732 | 2.04 | 231.62 | 0.034 | 0.09 | Ordnr | Nitrogen | 0.031 | 3.4 | 7384.143 | 0.434 | 1.09 | Ordnr | Carbon | 1
CCE139_2_12_2025 1_55_10 PM_035 | INT7 - 1 | CCE139 | CCE139 | 40.892 | 2.06 | 244.478 | 0.036 | 0.09 | Ordnr | Nitrogen | 0.021 | 3.34 | 11550.486 | 0.686 | 1.68 | Ordnr | Carbon | 1
BRS3_2_12_2025 2_01_12 PM_036 | INT7 - 1 | BRS3 | BRS3 | 32.792 | 2.06 | 426.263 | 0.063 | 0.19 | Ordnr | Nitrogen | 0.025 | 3.3 | 16935.423 | 1.029 | 3.14 | Ordnr | Carbon | 1
CCE142_2_12_2025 2_07_12 PM_037 | INT7 - 1 | CCE142 | CCE142 | 39.481 | 2.14 | 4.74 | 0.001 | 0 | Ordnr | Nitrogen | ??? | [7 empty] | not run, burst
CCE87_2_12_2025 2_13_13 PM_038 | INT7 - 1 | CCE87 | CCE87 | 40.234 | 2.06 | 226.819 | 0.034 | 0.08 | Ordnr | Nitrogen | 0.029 | 3.4 | 7876.675 | 0.463 | 1.15 | Ordnr | Carbon | 1
CCE150_2_12_2025 2_19_13 PM_039 | INT7 - 1 | CCE150 | CCE150 | 29.839 | 2.04 | 153.539 | 0.023 | 0.08 | Ordnr | Nitrogen | 0.022 | 3.4 | 7126.012 | 0.419 | 1.4 | Ordnr | Carbon | 1 | close enough to stds to use
CCE184_2_12_2025 2_25_14 PM_040 | INT7 - 1 | CCE184 | CCE184 | 9.897 | 2.04 | 271.34 | 0.04 | 0.41 | Ordnr | Nitrogen | 0.016 | 3.26 | 17428.957 | 1.062 | 10.73 | Ordnr | Carbon | 1
CCE178_2_12_2025 2_31_15 PM_041 | INT7 - 1 | CCE178 | CCE178 | 9.856 | 2.02 | 506.102 | 0.075 | 0.76 | Ordnr | Nitrogen | 0.022 | 3.2 | 23255.642 | 1.465 | 14.87 | Ordnr | Carbon | 1
CCE135_2_12_2025 2_37_16 PM_042 | INT7 - 1 | CCE135 | CCE135 | 20.116 | 2.04 | 293.551 | 0.044 | 0.22 | Ordnr | Nitrogen | 0.018 | 3.28 | 16461.609 | 0.998 | 4.96 | Ordnr | Carbon | 1
CCE54_2_12_2025 2_43_17 PM_043 | INT7 - 1 | CCE54 | CCE54 | 40.139 | 2.04 | 128.744 | 0.019 | 0.05 | Ordnr | Nitrogen | 0.021 | 3.4 | 6256.319 | 0.368 | 0.92 | Ordnr | Carbon | 1 | flagged, low
CCE41_2_12_2025 2_49_17 PM_044 | INT7 - 1 | CCE41 | CCE41 | 39.867 | 2.06 | 315.598 | 0.047 | 0.12 | Ordnr | Nitrogen | 0.02 | 3.32 | 16007.293 | 0.968 | 2.43 | Ordnr | Carbon | 1
CCE74_2_12_2025 2_55_18 PM_045 | INT7 - 1 | CCE74 | CCE74 | 40.175 | 2.06 | 236.333 | 0.035 | 0.09 | Ordnr | Nitrogen | 0.027 | 3.38 | 8613.708 | 0.507 | 1.26 | Ordnr | Carbon | 1
CCE89_2_12_2025 3_01_18 PM_046 | INT7 - 1 | CCE89 | CCE89 | 10.168 | 2.04 | 342.2 | 0.051 | 0.5 | Ordnr | Nitrogen | 0.02 | 3.28 | 16844.583 | 1.023 | 10.06 | Ordnr | Carbon | 1
CCE21_2_12_2025 3_07_18 PM_047 | INT7 - 1 | CCE21 | CCE21 | 39.898 | 2.04 | 153.709 | 0.023 | 0.06 | Ordnr | Nitrogen | 0.025 | 3.42 | 6218.184 | 0.366 | 0.92 | Ordnr | Carbon | 1 | close enough to stds to use
BRS4_2_12_2025 4_09_03 PM_048 | INT7 - 1 | BRS4 | BRS4 | 10.041 | 2 | 131.932 | 0.02 | 0.2 | Ordnr | Nitrogen | 0.024 | 3.36 | 5458.093 | 0.322 | 3.2 | Ordnr | Carbon | 1
CCE27_2_12_2025 4_15_03 PM_049 | INT7 - 1 | CCE27 | CCE27 | 20.39 | 2.02 | 307.809 | 0.046 | 0.22 | Ordnr | Nitrogen | 0.017 | 3.22 | 18075.978 | 1.105 | 5.42 | Ordnr | Carbon | 1
CCCE56_2_12_2025 4_21_04 PM_050 | INT7 - 1 | CCE56 | CCE56 | 10.015 | 2.02 | 373.898 | 0.055 | 0.55 | Ordnr | Nitrogen | 0.02 | 3.22 | 18797.048 | 1.154 | 11.52 | Ordnr | Carbon | 1
CCE197_2_12_2025 4_33_05 PM_052 | INT7 - 1 | CCE197 | CCE197 | 30.151 | 2 | 303.795 | 0.045 | 0.15 | Ordnr | Nitrogen | 0.02 | 3.26 | 15106.595 | 0.91 | 3.02 | Ordnr | Carbon | 1
CCE161_2_12_2025 4_39_08 PM_053 | INT7 - 1 | CCE161 | CCE161 | 10.06 | 2 | 459.915 | 0.068 | 0.68 | Ordnr | Nitrogen | 0.02 | 3.16 | 22660.542 | 1.423 | 14.14 | Ordnr | Carbon | 1
CCE166_2_12_2025 4_45_10 PM_054 | INT7 - 1 | CCE166 | CCE166 | 9.947 | 2 | 349.507 | 0.052 | 0.52 | Ordnr | Nitrogen | 0.02 | 3.22 | 17487.57 | 1.066 | 10.72 | Ordnr | Carbon | 1
CCE170_2_12_2025 4_51_12 PM_055 | INT7 - 1 | CCE170 | CCE170 | 9.981 | 1.98 | 343.308 | 0.051 | 0.51 | Ordnr | Nitrogen | 0.021 | 3.22 | 16531.552 | 1.003 | 10.05 | Ordnr | Carbon | 1
CCE179_2_12_2025 4_57_13 PM_056 | INT7 - 1 | CCE179 | CCE179 | 10.118 | 2 | 481.782 | 0.071 | 0.7 | Ordnr | Nitrogen | 0.022 | 3.18 | 21461.126 | 1.337 | 13.22 | Ordnr | Carbon | 1
CCE230_2_12_2025 5_03_14 PM_057 | INT7 - 1 | CCE230 | CCE230 | 29.928 | 2.02 | 292.768 | 0.043 | 0.15 | Ordnr | Nitrogen | 0.018 | 3.26 | 15949.334 | 0.965 | 3.22 | Ordnr | Carbon | 1
CCE153_2_12_2025 5_09_16 PM_058 | INT7 - 1 | CCE153 | CCE153 | 40.191 | 2.02 | 167.619 | 0.025 | 0.06 | Ordnr | Nitrogen | 0.025 | 3.36 | 6626.214 | 0.39 | 0.97 | Ordnr | Carbon | 1
CCE247_2_12_2025 5_15_18 PM_059 | INT7 - 1 | CCE247 | CCE247 | 20.136 | 2.02 | 448.378 | 0.066 | 0.33 | Ordnr | Nitrogen | 0.027 | 3.24 | 16847.682 | 1.023 | 5.08 | Ordnr | Carbon | 1
BRS5_2_12_2025 5_21_18 PM_060 | INT7 - 1 | BRS5 | BRS5 | 17.742 | 2.04 | 5.218 | 0.001 | 0.01 | Ordnr | Nitrogen | ??? | [7 empty] | not run, burst
CCE259_2_12_2025 5_27_19 PM_061 | INT7 - 1 | CCE259 | CCE259 | 9.9 | 2.02 | 379.309 | 0.056 | 0.57 | Ordnr | Nitrogen | 0.016 | 3.18 | 23903.081 | 1.512 | 15.28 | Ordnr | Carbon | 1
CCE228_2_12_2025 5_33_19 PM_062 | INT7 - 1 | CCE228 | CCE228 | 40.273 | 2.02 | 178.739 | 0.027 | 0.07 | Ordnr | Nitrogen | 0.019 | 3.32 | 9537.238 | 0.563 | 1.4 | Ordnr | Carbon | 1
CCE294_2_12_2025 5_39_21 PM_063 | INT7 - 1 | CCE294 | CCE294 | 39.958 | 2 | 295.302 | 0.044 | 0.11 | Ordnr | Nitrogen | 0.021 | 3.26 | 14222.417 | 0.853 | 2.14 | Ordnr | Carbon | 1
CCE274_2_12_2025 5_45_22 PM_064 | INT7 - 1 | CCE274 | CCE274 | 20.292 | 2.02 | 310.97 | 0.046 | 0.23 | Ordnr | Nitrogen | 0.023 | 3.28 | 13695.228 | 0.82 | 4.04 | Ordnr | Carbon | 1
CCE280_2_12_2025 5_51_23 PM_065 | INT7 - 1 | CCE280 | CCE280 | 20.047 | 2.02 | 292.765 | 0.043 | 0.22 | Ordnr | Nitrogen | 0.026 | 3.3 | 11468.03 | 0.681 | 3.39 | Ordnr | Carbon | 1
CCE239_2_12_2025 5_57_24 PM_066 | INT7 - 1 | CCE239 | CCE239 | 30.05 | 2.04 | 1133.211 | 0.167 | 0.56 | Ordnr | Nitrogen | 0.022 | 2.98 | 52035.189 | 4.661 | 15.51 | Ordnr | Carbon | 1 | too high, don't use
CCE8_2_12_2025 6_03_26 PM_067 | INT7 - 1 | CCE8 | CCE8 | 7.976 | 2 | 566.435 | 0.084 | 1.05 | Ordnr | Nitrogen | 0.024 | 3.16 | 23254.29 | 1.465 | 18.37 | Ordnr | Carbon | 1
CCE24_2_12_2025 6_09_27 PM_068 | INT7 - 1 | CCE24 | CCE24 | 29.995 | 1.98 | 204.555 | 0.03 | 0.1 | Ordnr | Nitrogen | 0.02 | 3.28 | 10424.935 | 0.617 | 2.06 | Ordnr | Carbon | 1
CCE36_2_12_2025 6_15_28 PM_069 | INT7 - 1 | CCE36 | CCE36 | 30.141 | 2.02 | 150.165 | 0.022 | 0.07 | Ordnr | Nitrogen | 0.022 | 3.36 | 6942.33 | 0.408 | 1.35 | Ordnr | Carbon | 1 | close enough to stds to use
CCE315_2_12_2025 6_21_29 PM_070 | INT7 - 1 | CCE315 | CCE315 | 20.074 | 2.02 | 180.67 | 0.027 | 0.13 | Ordnr | Nitrogen | 0.02 | 3.32 | 9031.712 | 0.532 | 2.65 | Ordnr | Carbon | 1
CCE211_2_12_2025 6_27_30 PM_071 | INT7 - 1 | CCE211 | CCE211 | 5.203 | 2 | 517.73 | 0.076 | 1.47 | Ordnr | Nitrogen | 0.02 | 3.16 | 25413.137 | 1.624 | 31.21 | Ordnr | Carbon | 1
BRS6_2_12_2025 6_33_31 PM_072 | INT7 - 1 | BRS6 | BRS6 | 35.734 | 2.02 | 453.988 | 0.067 | 0.19 | Ordnr | Nitrogen | 0.026 | 3.24 | 17682.149 | 1.079 | 3.02 | Ordnr | Carbon | 1
CCE237_2_12_2025 6_39_32 PM_073 | INT7 - 1 | CCE237 | CCE237 | 20.219 | 2.02 | 335.276 | 0.05 | 0.25 | Ordnr | Nitrogen | 0.019 | 3.22 | 17666.882 | 1.078 | 5.33 | Ordnr | Carbon | 1
CCE242_2_12_2025 6_45_32 PM_074 | INT7 - 1 | CCE242 | CCE242 | 20.287 | 2.02 | 349.038 | 0.052 | 0.25 | Ordnr | Nitrogen | 0.016 | 3.2 | 21498.253 | 1.34 | 6.61 | Ordnr | Carbon | 1
CCE250_2_12_2025 6_51_33 PM_075 | INT7 - 1 | CCE250 | CCE250 | 20.268 | 2 | 371.732 | 0.055 | 0.27 | Ordnr | Nitrogen | 0.018 | 3.2 | 20354.644 | 1.26 | 6.22 | Ordnr | Carbon | 1
CCE281_2_12_2025 6_57_36 PM_076 | INT7 - 1 | CCE281 | CCE281 | 19.955 | 2 | 177.483 | 0.027 | 0.13 | Ordnr | Nitrogen | 0.026 | 3.34 | 6880.743 | 0.405 | 2.03 | Ordnr | Carbon | 1
CCE240_2_12_2025 7_03_36 PM_077 | INT7 - 1 | CCE240 | CCE240 | 20.211 | 2 | 163.952 | 0.025 | 0.12 | Ordnr | Nitrogen | 0.016 | 3.3 | 9960.617 | 0.588 | 2.91 | Ordnr | Carbon | 1
CCE136_2_12_2025 7_09_39 PM_078 | INT7 - 1 | CCE136 | CCE136 | 20.123 | 2 | 200.947 | 0.03 | 0.15 | Ordnr | Nitrogen | 0.019 | 3.3 | 10857.349 | 0.643 | 3.2 | Ordnr | Carbon | 1
CCE185_2_12_2025 7_15_40 PM_079 | INT7 - 1 | CCE185 | CCE185 | 20.059 | 2.02 | 223.866 | 0.033 | 0.17 | Ordnr | Nitrogen | 0.017 | 3.28 | 13243.57 | 0.791 | 3.94 | Ordnr | Carbon | 1
CCE38_2_12_2025 7_21_43 PM_080 | INT7 - 1 | CCE38 | CCE38 | 20.117 | 2 | 186.452 | 0.028 | 0.14 | Ordnr | Nitrogen | 0.017 | 3.28 | 11028.93 | 0.654 | 3.25 | Ordnr | Carbon | 1
CCE106_2_12_2025 7_27_43 PM_081 | INT7 - 1 | CCE106 | CCE106 | 19.862 | 2.02 | 137.993 | 0.021 | 0.1 | Ordnr | Nitrogen | 0.023 | 3.36 | 5944.702 | 0.35 | 1.76 | Ordnr | Carbon | 1 | flagged, low
CCE196_2_12_2025 7_33_44 PM_082 | INT7 - 1 | CCE196 | CCE196 | 29.965 | 2.02 | 172.344 | 0.026 | 0.09 | Ordnr | Nitrogen | 0.021 | 3.34 | 8361.224 | 0.492 | 1.64 | Ordnr | Carbon | 1
CCE39_2_12_2025 7_39_44 PM_083 | INT7 - 1 | CCE39 | CCE39 | 40.191 | 2 | 163.127 | 0.024 | 0.06 | Ordnr | Nitrogen | 0.021 | 3.34 | 7910.632 | 0.465 | 1.16 | Ordnr | Carbon | 1
BRS7_2_12_2025 7_45_46 PM_084 | INT7 - 1 | BRS7 | BRS7 | 20.905 | 2 | 266.112 | 0.04 | 0.19 | Ordnr | Nitrogen | 0.024 | 3.3 | 10867.829 | 0.644 | 3.08 | Ordnr | Carbon | 1
CCE35_2_12_2025 7_51_47 PM_085 | INT7 - 1 | CCE35 | CCE35 | 20.104 | 2.02 | 222.908 | 0.033 | 0.17 | Ordnr | Nitrogen | 0.015 | 3.26 | 14517.258 | 0.872 | 4.34 | Ordnr | Carbon | 1
CCE289_2_12_2025 7_57_48 PM_086 | INT7 - 1 | CCE289 | CCE289 | 20.213 | 2.02 | 176.174 | 0.026 | 0.13 | Ordnr | Nitrogen | 0.03 | 3.36 | 5868.091 | 0.346 | 1.71 | Ordnr | Carbon | 1 | close enough to stds to use
CCE292_2_12_2025 8_03_48 PM_087 | INT7 - 1 | CCE292 | CCE292 | 20.118 | 2 | 169.59 | 0.025 | 0.13 | Ordnr | Nitrogen | 0.032 | 3.36 | 5377.169 | 0.317 | 1.58 | Ordnr | Carbon | 1 | close enough to stds to use
CCE141_2_12_2025 8_09_51 PM_088 | INT7 - 1 | CCE141 | CCE141 | 30.275 | 2 | 214.896 | 0.032 | 0.11 | Ordnr | Nitrogen | 0.019 | 3.3 | 11047.139 | 0.655 | 2.16 | Ordnr | Carbon | 1
CCE188_2_12_2025 8_15_53 PM_089 | INT7 - 1 | CCE188 | CCE188 | 30.149 | 2.02 | 184.723 | 0.028 | 0.09 | Ordnr | Nitrogen | 0.015 | 3.28 | 12551.2 | 0.748 | 2.48 | Ordnr | Carbon | 1
CCE80_2_12_2025 8_21_54 PM_090 | INT7 - 1 | CCE80 | CCE80 | 20.02 | 2.02 | 122.543 | 0.018 | 0.09 | Ordnr | Nitrogen | 0.027 | 3.38 | 4470.97 | 0.265 | 1.32 | Ordnr | Carbon | 1 | flagged, low
CCE65_2_12_2025 8_27_54 PM_091 | INT7 - 1 | CCE65 | CCE65 | 20.143 | 2 | 117.217 | 0.018 | 0.09 | Ordnr | Nitrogen | 0.025 | 3.36 | 4751.513 | 0.281 | 1.4 | Ordnr | Carbon | 1 | flagged, low
CCE98_2_12_2025 8_33_57 PM_092 | INT7 - 1 | CCE98 | CCE98 | 30.096 | 2.02 | 179.512 | 0.027 | 0.09 | Ordnr | Nitrogen | 0.029 | 3.36 | 6252.675 | 0.368 | 1.22 | Ordnr | Carbon | 1
CCE45_2_12_2025 8_39_59 PM_093 | INT7 - 1 | CCE45 | CCE45 | 30.059 | 2 | 129.524 | 0.019 | 0.06 | Ordnr | Nitrogen | 0.022 | 3.36 | 5881.501 | 0.346 | 1.15 | Ordnr | Carbon | 1 | flagged, low
CCE245_2_12_2025 8_46_00 PM_094 | INT7 - 1 | CCE245 | CCE245 | 20.181 | 2.02 | 161.096 | 0.024 | 0.12 | Ordnr | Nitrogen | 0.02 | 3.34 | 8093.51 | 0.476 | 2.36 | Ordnr | Carbon | 1
CCE97_2_12_2025 8_52_01 PM_095 | INT7 - 1 | CCE97 | CCE97 | 20.109 | 2.02 | 180.655 | 0.027 | 0.13 | Ordnr | Nitrogen | 0.025 | 3.34 | 7293.246 | 0.429 | 2.13 | Ordnr | Carbon | 1
BRS8_2_12_2025 8_58_01 PM_096 | INT7 - 1 | BRS8 | BRS8 | 17.177 | 2 | 220.221 | 0.033 | 0.19 | Ordnr | Nitrogen | 0.024 | 3.32 | 9218.17 | 0.544 | 3.16 | Ordnr | Carbon | 1