## Sheet1
|  | Sample | Sample ID | Sample Amount | Nitrogen | Nitrogen | Nitrogen | Nitrogen | Nitrogen | Nitrogen | Nitrogen | Carbon | Carbon | Carbon | Carbon | Carbon | Carbon | Carbon | notes
[5 empty] | Reten. Time [min] | Response | Weight [mg] | Weight [%] | Peak Type | Element Name | Carbon Response Ratio | Reten. Time [min] | Response | Weight [mg] | Weight [%] | Peak Type | Element Name | Carbon Response Ratio
Bypass_2_13_2025 9_22_18 AM_001 | INT7 - 1 | Bypass | Bypass | 0 | 2.1 | 4.907 | 0.001 | 100 | Ordnr | Nitrogen | ???
Calib\Std 1_2_13_2025 9_34_19 AM_003 | INT7 - 1 | Peach Standard 1 | Std 1 | 0.846 | 2.02 | 165.44 | 0.025 | 2.94 | Ordnr | Nitrogen | 0.025 | 3.38 | 6686.824 | 0.391 | 46.26 | Ordnr | Carbon | 1
Calib\Std 2_2_13_2025 9_40_19 AM_004 | INT7 - 1 | Peach Standard 2 | Std 2 | 1.504 | 2.02 | 297.293 | 0.044 | 2.94 | Ordnr | Nitrogen | 0.026 | 3.32 | 11561.385 | 0.699 | 46.47 | Ordnr | Carbon | 1
Calib\Std 3_2_13_2025 9_46_20 AM_005 | INT7 - 1 | Peach Standard 3 | Std 3 | 2.204 | 2.02 | 433.034 | 0.064 | 2.92 | Ordnr | Nitrogen | 0.026 | 3.26 | 16592.373 | 1.026 | 46.54 | Ordnr | Carbon | 1
Calib\Std 4_2_13_2025 9_52_20 AM_006 | INT7 - 1 | Peach Standard 4 | Std 4 | 3.004 | 2.02 | 592.09 | 0.088 | 2.92 | Ordnr | Nitrogen | 0.027 | 3.2 | 21998.363 | 1.389 | 46.25 | Ordnr | Carbon | 1
Calib\Std 5_2_13_2025 9_58_21 AM_007 | INT7 - 1 | Peach Standard 5 | Std 5 | 3.993 | 2.04 | 792.782 | 0.117 | 2.94 | Ordnr | Nitrogen | 0.028 | 3.16 | 28631.846 | 1.854 | 46.44 | Ordnr | Carbon | 1
BRS1_2_13_2025 10_12_17 AM_008 | INT7 - 1 | BRS1 | BRS1 | 9.01 | 2.02 | 121.63 | 0.018 | 0.2 | Ordnr | Nitrogen | 0.024 | 3.4 | 5054.988 | 0.29 | 3.22 | Ordnr | Carbon | 1
CCE 71_2_13_2025 10_18_18 AM_009 | INT7 - 1 | CCE 71 | CCE 71 | 59.927 | 2.06 | 234.552 | 0.035 | 0.06 | Ordnr | Nitrogen | 0.038 | 3.42 | 6244.488 | 0.364 | 0.61 | Ordnr | Carbon | 1
CCE 321_2_13_2025 10_24_18 AM_010 | INT7 - 1 | CCE 321 | CCE 321 | 60.036 | 2.04 | 210.858 | 0.032 | 0.05 | Ordnr | Nitrogen | 0.013 | 3.28 | 16176.384 | 0.998 | 1.66 | Ordnr | Carbon | 1
CCE 327_2_13_2025 10_30_19 AM_011 | INT7 - 1 | CCE 327 | CCE 327 | 60.125 | 2.04 | 163.672 | 0.025 | 0.04 | Ordnr | Nitrogen | 0.024 | 3.38 | 6855.829 | 0.402 | 0.67 | Ordnr | Carbon | 1
CCE 300_2_13_2025 10_36_19 AM_012 | INT7 - 1 | CCE 300 | CCE 300 | 60.094 | 2.02 | 337.935 | 0.05 | 0.08 | Ordnr | Nitrogen | 0.019 | 3.26 | 17968.377 | 1.117 | 1.86 | Ordnr | Carbon | 1
CCE 344_2_13_2025 10_42_20 AM_013 | INT7 - 1 | CCE 344 | CCE 344 | 60.004 | 2.04 | 232.285 | 0.035 | 0.06 | Ordnr | Nitrogen | 0.025 | 3.36 | 9319.145 | 0.556 | 0.93 | Ordnr | Carbon | 1
CCE 330_2_13_2025 10_48_21 AM_014 | INT7 - 1 | CCE 330 | CCE 330 | 79.938 | 2.04 | 276.833 | 0.041 | 0.05 | Ordnr | Nitrogen | 0.023 | 3.34 | 11809.861 | 0.715 | 0.89 | Ordnr | Carbon | 1
CCE 324_2_13_2025 10_54_22 AM_015 | INT7 - 1 | CCE 324 | CCE 324 | 60.207 | 2.04 | 219.331 | 0.033 | 0.05 | Ordnr | Nitrogen | 0.019 | 3.34 | 11670.031 | 0.706 | 1.17 | Ordnr | Carbon | 1
CCE 301_2_13_2025 11_00_22 AM_016 | INT7 - 1 | CCE 301 | CCE 301 | 80.276 | 2.06 | 180.61 | 0.027 | 0.03 | Ordnr | Nitrogen | 0.02 | 3.38 | 9142.789 | 0.545 | 0.68 | Ordnr | Carbon | 1
CCE 234_2_13_2025 11_06_23 AM_017 | INT7 - 1 | CCE 234 | CCE 234 | 80.126 | 2.02 | 92.704 | 0.014 | 0.02 | Ordnr | Nitrogen | 0.023 | 3.42 | 4053.941 | 0.229 | 0.29 | Ordnr | Carbon | 1 | flagged, low
CCE 18_2_13_2025 11_12_24 AM_018 | INT7 - 1 | CCE 18 | CCE 18 | 59.84 | 2.04 | 175.723 | 0.026 | 0.04 | Ordnr | Nitrogen | 0.023 | 3.4 | 7688.455 | 0.454 | 0.76 | Ordnr | Carbon | 1
CCE 12_2_13_2025 11_18_26 AM_019 | INT7 - 1 | CCE 12 | CCE 12 | 60 | 2.06 | 149.671 | 0.023 | 0.04 | Ordnr | Nitrogen | 0.024 | 3.42 | 6147.791 | 0.358 | 0.6 | Ordnr | Carbon | 1
CCE 30_2_13_2025 11_24_26 AM_020 | INT7 - 1 | CCE 30 | CCE 30 | 60.079 | 2.06 | 190.133 | 0.029 | 0.05 | Ordnr | Nitrogen | 0.021 | 3.4 | 9213.339 | 0.55 | 0.91 | Ordnr | Carbon | 1
CCE 33_2_13_2025 11_30_27 AM_021 | INT7 - 1 | CCE 33 | CCE 33 | 79.934 | 2.08 | 193.081 | 0.029 | 0.04 | Ordnr | Nitrogen | 0.028 | 3.42 | 7018.402 | 0.412 | 0.52 | Ordnr | Carbon | 1
CCE 42_2_13_2025 11_36_28 AM_022 | INT7 - 1 | CCE 42 | CCE 42 | 59.957 | 2.06 | 197.009 | 0.03 | 0.05 | Ordnr | Nitrogen | 0.022 | 3.38 | 8935.483 | 0.532 | 0.89 | Ordnr | Carbon | 1
CCE 200_2_13_2025 11_42_28 AM_023 | INT7 - 1 | CCE 200 | CCE 200 | 79.994 | 2.1 | 181.856 | 0.027 | 0.03 | Ordnr | Nitrogen | 0.019 | 3.42 | 9462.001 | 0.565 | 0.71 | Ordnr | Carbon | 1
BRS2_2_13_2025 11_48_29 AM_024 | INT7 - 1 | BRS2 | BRS2 | 12.142 | 2.04 | 162.418 | 0.024 | 0.2 | Ordnr | Nitrogen | 0.024 | 3.42 | 6799.574 | 0.398 | 3.28 | Ordnr | Carbon | 1
CCE 236_2_13_2025 11_54_29 AM_025 | INT7 - 1 | CCE 236 | CCE 236 | 40.055 | 2.08 | 2134.349 | 0.315 | 0.79 | Ordnr | Nitrogen | 0.03 | 2.88 | 71090.936 | 5.681 | 14.18 | Ordnr | Carbon | 1 | rerun later in the tray, don't use
CCE 94_2_13_2025 12_00_30 PM_026 | INT7 - 1 | CCE 94 | CCE 94 | 40.249 | 2.06 | 187.694 | 0.028 | 0.07 | Ordnr | Nitrogen | 0.03 | 3.42 | 6268.104 | 0.365 | 0.91 | Ordnr | Carbon | 1
CCE 62_2_13_2025 12_06_31 PM_027 | INT7 - 1 | CCE 62 | CCE 62 | 30.31 | 2.04 | 195.894 | 0.029 | 0.1 | Ordnr | Nitrogen | 0.034 | 3.42 | 5825.762 | 0.338 | 1.12 | Ordnr | Carbon | 1 | close enough to stds to use
CCE 9_2_13_2025 12_12_32 PM_028 | INT7 - 1 | CCE 9 | CCE 9 | 40.46 | 2.04 | 137.826 | 0.021 | 0.05 | Ordnr | Nitrogen | 0.026 | 3.42 | 5324.638 | 0.307 | 0.76 | Ordnr | Carbon | 1 | flagged, low
CCE 142_2_13_2025 12_18_32 PM_029 | INT7 - 1 | CCE 142 | CCE 142 | 40.005 | 2.08 | 197.537 | 0.03 | 0.07 | Ordnr | Nitrogen | 0.024 | 3.4 | 8128.76 | 0.481 | 1.2 | Ordnr | Carbon | 1
CCE 199_2_13_2025 12_24_33 PM_030 | INT7 - 1 | CCE 199 | CCE 199 | 40.006 | 2.06 | 146.453 | 0.022 | 0.06 | Ordnr | Nitrogen | 0.02 | 3.4 | 7461.545 | 0.44 | 1.1 | Ordnr | Carbon | 1 | close enough to stds to use
CCE 320_2_13_2025 12_30_34 PM_031 | INT7 - 1 | CCE 320 | CCE 320 | 39.977 | 2.04 | 351.029 | 0.052 | 0.13 | Ordnr | Nitrogen | 0.018 | 3.26 | 19313.816 | 1.207 | 3.02 | Ordnr | Carbon | 1
CCE 323_2_13_2025 12_36_35 PM_032 | INT7 - 1 | CCE 323 | CCE 323 | 40.002 | 2.04 | 202.166 | 0.03 | 0.08 | Ordnr | Nitrogen | 0.016 | 3.32 | 12369.319 | 0.751 | 1.88 | Ordnr | Carbon | 1
CCE 54_2_13_2025 12_42_36 PM_033 | INT7 - 1 | CCE 54 | CCE 54 | 39.957 | 2.06 | 185.669 | 0.028 | 0.07 | Ordnr | Nitrogen | 0.027 | 3.4 | 6972.425 | 0.409 | 1.02 | Ordnr | Carbon | 1
BRS3_2_13_2025 12_48_36 PM_034 | INT7 - 1 | BRS3 | BRS3 | 32.01 | 2.08 | 420.93 | 0.063 | 0.2 | Ordnr | Nitrogen | 0.025 | 3.32 | 16789.688 | 1.039 | 3.25 | Ordnr | Carbon | 1
BRS4_2_13_2025 12_54_36 PM_035 | INT7 - 1 | BRS4 | BRS4 | 9.926 | 2.04 | 129.521 | 0.02 | 0.2 | Ordnr | Nitrogen | 0.023 | 3.42 | 5563.96 | 0.322 | 3.24 | Ordnr | Carbon | 1
BRS5_2_13_2025 1_00_38 PM_036 | INT7 - 1 | BRS5 | BRS5 | 16.89 | 2.04 | 223.799 | 0.033 | 0.2 | Ordnr | Nitrogen | 0.024 | 3.38 | 9248.829 | 0.552 | 3.27 | Ordnr | Carbon | 1
BRS6_2_13_2025 1_06_39 PM_037 | INT7 - 1 | BRS6 | BRS6 | 34.878 | 2.06 | 464.494 | 0.069 | 0.2 | Ordnr | Nitrogen | 0.025 | 3.28 | 18441.051 | 1.149 | 3.29 | Ordnr | Carbon | 1
BRS7_2_13_2025 1_12_40 PM_038 | INT7 - 1 | BRS7 | BRS7 | 19.966 | 2.06 | 264.253 | 0.039 | 0.2 | Ordnr | Nitrogen | 0.025 | 3.36 | 10745.909 | 0.647 | 3.24 | Ordnr | Carbon | 1
BRS8_2_13_2025 1_18_40 PM_039 | INT7 - 1 | BRS8 | BRS8 | 17.128 | 2.04 | 228.336 | 0.034 | 0.2 | Ordnr | Nitrogen | 0.024 | 3.38 | 9491.342 | 0.567 | 3.31 | Ordnr | Carbon | 1
CCE 236_2_13_2025 1_43_05 PM_001 | INT7 - 1 | CCE 236 | CCE 236 | 8.005 | 2.04 | 449.432 | 0.067 | 0.83 | Ordnr | Nitrogen | 0.021 | 3.24 | 20980.889 | 1.32 | 16.49 | Ordnr | Carbon | 1