## Sheet1
|  | Sample | Sample ID | Sample Amount | Nitrogen | Nitrogen | Nitrogen | Nitrogen | Nitrogen | Nitrogen | Nitrogen | Carbon | Carbon | Carbon | Carbon | Carbon | Carbon | Carbon
[5 empty] | Reten. Time [min] | Response | Weight [mg] | Weight [%] | Peak Type | Element Name | Carbon Response Ratio | Reten. Time [min] | Response | Weight [mg] | Weight [%] | Peak Type | Element Name | Carbon Response Ratio | Notes | Reroll
Bypass_8_18_2025 12_45_02 PM_001 | INT7 - 1 | Bypass | Bypass | 0 | 2.22 | 207.439 | 0.045 | 100 | Ordnr | Nitrogen | ???
Calib\Std 1_8_18_2025 12_57_03 PM_003 | INT7 - 1 | Peach Standard 1 | Std 1 | 0.853 | 2.1 | 112.1 | 0.025 | 2.95 | Ordnr | Nitrogen | 0.021 | 3.58 | 5250.505 | 0.394 | 46.16 | Ordnr | Carbon | 1
Calib\Std 2_8_18_2025 1_03_03 PM_004 | INT7 - 1 | Peach Standard 2 | Std 2 | 1.507 | 2.1 | 203.417 | 0.044 | 2.91 | Ordnr | Nitrogen | 0.022 | 3.52 | 9215.218 | 0.703 | 46.63 | Ordnr | Carbon | 1
Calib\Std 3_8_18_2025 1_09_04 PM_005 | INT7 - 1 | Peach Standard 3 | Std 3 | 2.205 | 2.12 | 304.872 | 0.065 | 2.93 | Ordnr | Nitrogen | 0.023 | 3.46 | 13235.479 | 1.024 | 46.43 | Ordnr | Carbon | 1
Calib\Std 4_8_18_2025 1_15_04 PM_006 | INT7 - 1 | Peach Standard 4 | Std 4 | 2.997 | 2.12 | 419.366 | 0.088 | 2.94 | Ordnr | Nitrogen | 0.024 | 3.42 | 17655.926 | 1.387 | 46.28 | Ordnr | Carbon | 1
Calib\Std 5_8_18_2025 1_21_04 PM_007 | INT7 - 1 | Peach Standard 5 | Std 5 | 4.005 | 2.14 | 562.59 | 0.117 | 2.93 | Ordnr | Nitrogen | 0.024 | 3.36 | 23214.171 | 1.86 | 46.44 | Ordnr | Carbon | 1
Apple Leaves_8_18_2025 1_45_07 PM_008 | INT7 - 1 | Apple Leaves | Apple Leaves | 2.004 | 2.12 | 204.789 | 0.044 | 2.2 | Ordnr | Nitrogen | 0.017 | 3.46 | 12331.376 | 0.951 | 47.45 | Ordnr | Carbon | 1
51_8_18_2025 1_51_08 PM_009 | INT7 - 1 | 51 | 51 | 3.006 | 2.12 | 128.697 | 0.029 | 0.95 | Ordnr | Nitrogen | 0.008 | 3.42 | 16105.279 | 1.258 | 41.86 | Ordnr | Carbon | 1
52_8_18_2025 1_57_09 PM_010 | INT7 - 1 | 52 | 52 | 2.995 | 2.1 | 46.239 | 0.012 | 0.39 | Ordnr | Nitrogen | 0.007 | 3.56 | 6459.374 | 0.487 | 16.27 | Ordnr | Carbon | 1 | low N | Y
53_8_18_2025 2_03_10 PM_011 | INT7 - 1 | 53 | 53 | 2.995 | 2.1 | 29.493 | 0.008 | 0.28 | Ordnr | Nitrogen | 0.009 | 3.6 | 3349.227 | 0.248 | 8.29 | Ordnr | Carbon | 1 | low N + C | Y
54_8_18_2025 2_09_10 PM_012 | INT7 - 1 | 54 | 54 | 3 | 2.12 | 190.416 | 0.041 | 1.37 | Ordnr | Nitrogen | 0.011 | 3.42 | 17240.599 | 1.352 | 45.08 | Ordnr | Carbon | 1
55_8_18_2025 2_15_11 PM_013 | INT7 - 1 | 55 | 55 | 3.003 | 2.12 | 116.807 | 0.026 | 0.87 | Ordnr | Nitrogen | 0.007 | 3.42 | 17211.858 | 1.35 | 44.95 | Ordnr | Carbon | 1
67_8_18_2025 2_21_11 PM_014 | INT7 - 1 | 67 | 67 | 3.004 | 2.12 | 139.296 | 0.031 | 1.02 | Ordnr | Nitrogen | 0.008 | 3.42 | 17616.309 | 1.384 | 46.06 | Ordnr | Carbon | 1
68_8_18_2025 2_27_11 PM_015 | INT7 - 1 | 68 | 68 | 3.004 | 2.12 | 116.938 | 0.026 | 0.87 | Ordnr | Nitrogen | 0.008 | 3.44 | 14883.558 | 1.158 | 38.55 | Ordnr | Carbon | 1
75_8_18_2025 2_33_11 PM_016 | INT7 - 1 | 75 | 75 | 3.008 | 2.12 | 181.561 | 0.039 | 1.31 | Ordnr | Nitrogen | 0.01 | 3.42 | 17585.433 | 1.381 | 45.91 | Ordnr | Carbon | 1
76_8_18_2025 2_39_13 PM_017 | INT7 - 1 | 76 | 76 | 2.999 | 2.12 | 170.131 | 0.037 | 1.24 | Ordnr | Nitrogen | 0.015 | 3.48 | 11690.49 | 0.899 | 29.99 | Ordnr | Carbon | 1
86_8_18_2025 2_45_14 PM_018 | INT7 - 1 | 86 | 86 | 3.005 | 2.12 | 143.137 | 0.032 | 1.05 | Ordnr | Nitrogen | 0.008 | 3.4 | 18734.641 | 1.477 | 49.16 | Ordnr | Carbon | 1
87_8_18_2025 2_51_14 PM_019 | INT7 - 1 | 87 | 87 | 3.01 | 2.14 | 150.124 | 0.033 | 1.09 | Ordnr | Nitrogen | 0.009 | 3.44 | 17274.255 | 1.355 | 45.02 | Ordnr | Carbon | 1
211_8_18_2025 2_57_15 PM_020 | INT7 - 1 | 211 | 211 | 3.004 | 2.12 | 128.561 | 0.029 | 0.95 | Ordnr | Nitrogen | 0.007 | 3.42 | 17586.352 | 1.381 | 45.98 | Ordnr | Carbon | 1
5_8_18_2025 3_03_15 PM_021 | INT7 - 1 | 5 | 5 | 3.043 | 2.12 | 151.736 | 0.033 | 1.09 | Ordnr | Nitrogen | 0.008 | 3.4 | 18517.195 | 1.459 | 47.95 | Ordnr | Carbon | 1
6_8_18_2025 3_09_15 PM_022 | INT7 - 1 | 6 | 6 | 3.028 | 2.12 | 112.441 | 0.025 | 0.83 | Ordnr | Nitrogen | 0.006 | 3.4 | 18526.284 | 1.46 | 48.21 | Ordnr | Carbon | 1
9_8_18_2025 3_15_16 PM_023 | INT7 - 1 | 9 | 9 | 3.051 | 2.12 | 247.978 | 0.053 | 1.74 | Ordnr | Nitrogen | 0.022 | 3.48 | 11405.168 | 0.877 | 28.73 | Ordnr | Carbon | 1
Peach_8_18_2025 3_21_16 PM_024 | INT7 - 1 | Peach | Peach | 1.197 | 2.12 | 156.668 | 0.034 | 2.86 | Ordnr | Nitrogen | 0.021 | 3.54 | 7429.867 | 0.563 | 47.01 | Ordnr | Carbon | 1
212_8_18_2025 3_27_16 PM_025 | INT7 - 1 | 212 | 212 | 2.915 | 2.12 | 139.47 | 0.031 | 1.06 | Ordnr | Nitrogen | 0.008 | 3.42 | 16690.048 | 1.307 | 44.83 | Ordnr | Carbon | 1
213_8_18_2025 3_33_17 PM_026 | INT7 - 1 | 213 | 213 | 3.021 | 2.12 | 103.51 | 0.023 | 0.78 | Ordnr | Nitrogen | 0.01 | 3.5 | 10597.878 | 0.812 | 26.89 | Ordnr | Carbon | 1
214_8_18_2025 3_39_17 PM_027 | INT7 - 1 | 214 | 214 | 3.121 | 2.12 | 210.084 | 0.045 | 1.45 | Ordnr | Nitrogen | 0.013 | 3.44 | 15901.287 | 1.242 | 39.78 | Ordnr | Carbon | 1
215_8_18_2025 3_45_17 PM_028 | INT7 - 1 | 215 | 215 | 3.044 | 2.12 | 125.107 | 0.028 | 0.91 | Ordnr | Nitrogen | 0.007 | 3.4 | 17813.231 | 1.4 | 45.99 | Ordnr | Carbon | 1
216_8_18_2025 3_51_17 PM_029 | INT7 - 1 | 216 | 216 | 3.014 | 2.12 | 64.312 | 0.015 | 0.51 | Ordnr | Nitrogen | 0.008 | 3.54 | 8153.703 | 0.619 | 20.55 | Ordnr | Carbon | 1 | low N | Y
217_8_18_2025 3_57_18 PM_030 | INT7 - 1 | 217 | 217 | 2.999 | 2.12 | 142.089 | 0.031 | 1.04 | Ordnr | Nitrogen | 0.008 | 3.42 | 17906.617 | 1.408 | 46.95 | Ordnr | Carbon | 1
218_8_18_2025 4_03_18 PM_031 | INT7 - 1 | 218 | 218 | 3.039 | 2.12 | 116.061 | 0.026 | 0.86 | Ordnr | Nitrogen | 0.008 | 3.44 | 14721.378 | 1.145 | 37.67 | Ordnr | Carbon | 1
232_8_18_2025 4_09_18 PM_032 | INT7 - 1 | 232 | 232 | 3.021 | 2.12 | 149.843 | 0.033 | 1.09 | Ordnr | Nitrogen | 0.008 | 3.42 | 18230.303 | 1.435 | 47.5 | Ordnr | Carbon | 1
242_8_18_2025 4_15_18 PM_033 | INT7 - 1 | 242 | 242 | 2.943 | 2.1 | 90.834 | 0.021 | 0.71 | Ordnr | Nitrogen | 0.016 | 3.58 | 5759.646 | 0.433 | 14.71 | Ordnr | Carbon | 1 | low N | Y
288_8_18_2025 4_21_19 PM_034 | INT7 - 1 | 288 | 288 | 3.154 | 2.12 | 177.666 | 0.039 | 1.22 | Ordnr | Nitrogen | 0.014 | 3.48 | 12844.823 | 0.992 | 31.46 | Ordnr | Carbon | 1
305_8_18_2025 4_27_19 PM_035 | INT7 - 1 | 305 | 305 | 3.04 | 2.12 | 110.091 | 0.025 | 0.81 | Ordnr | Nitrogen | 0.017 | 3.58 | 6479.395 | 0.489 | 16.08 | Ordnr | Carbon | 1
Peach_8_18_2025 4_33_19 PM_036 | INT7 - 1 | Peach | Peach | 3.207 | 2.14 | 450.467 | 0.094 | 2.94 | Ordnr | Nitrogen | 0.024 | 3.4 | 18884.449 | 1.49 | 46.46 | Ordnr | Carbon | 1
57_8_18_2025 4_39_19 PM_037 | INT7 - 1 | 57 | 57 | 3.002 | 2.12 | 94.936 | 0.022 | 0.72 | Ordnr | Nitrogen | 0.014 | 3.56 | 6708.244 | 0.507 | 16.87 | Ordnr | Carbon | 1 | low N, close enough | N
77_8_18_2025 4_45_20 PM_038 | INT7 - 1 | 77 | 77 | 3.005 | 2.12 | 168.991 | 0.037 | 1.23 | Ordnr | Nitrogen | 0.011 | 3.44 | 15727.969 | 1.227 | 40.84 | Ordnr | Carbon | 1
78_8_18_2025 4_51_20 PM_039 | INT7 - 1 | 78 | 78 | 3.002 | 2.12 | 129.61 | 0.029 | 0.96 | Ordnr | Nitrogen | 0.013 | 3.52 | 10018.948 | 0.766 | 25.53 | Ordnr | Carbon | 1
304_8_18_2025 4_57_20 PM_040 | INT7 - 1 | 304 | 304 | 3.006 | 2.1 | 66.225 | 0.016 | 0.53 | Ordnr | Nitrogen | 0.016 | 3.6 | 4210.518 | 0.314 | 10.44 | Ordnr | Carbon | 1 | low N + C | Y
307_8_18_2025 5_03_21 PM_041 | INT7 - 1 | 307 | 307 | 3 | 2.1 | 42.906 | 0.011 | 0.37 | Ordnr | Nitrogen | 0.021 | 3.66 | 2078.941 | 0.152 | 5.06 | Ordnr | Carbon | 1 | low N + C | Y
308_8_18_2025 5_09_21 PM_042 | INT7 - 1 | 308 | 308 | 2.997 | 2.12 | 129.653 | 0.029 | 0.96 | Ordnr | Nitrogen | 0.022 | 3.58 | 5815.234 | 0.437 | 14.59 | Ordnr | Carbon | 1
7_8_18_2025 5_15_21 PM_043 | INT7 - 1 | 7 | 7 | 3.001 | 2.12 | 137.76 | 0.03 | 1.01 | Ordnr | Nitrogen | 0.008 | 3.42 | 17564.186 | 1.379 | 45.96 | Ordnr | Carbon | 1
8_8_18_2025 5_21_21 PM_044 | INT7 - 1 | 8 | 8 | 2.994 | 2.12 | 210.601 | 0.045 | 1.51 | Ordnr | Nitrogen | 0.017 | 3.48 | 12705.831 | 0.981 | 32.77 | Ordnr | Carbon | 1
10_8_18_2025 5_27_22 PM_045 | INT7 - 1 | 10 | 10 | 3.002 | 2.12 | 175.291 | 0.038 | 1.27 | Ordnr | Nitrogen | 0.02 | 3.52 | 8856.865 | 0.674 | 22.47 | Ordnr | Carbon | 1
45_8_18_2025 5_33_22 PM_046 | INT7 - 1 | 45 | 45 | 2.998 | 2.12 | 62.562 | 0.015 | 0.5 | Ordnr | Nitrogen | 0.008 | 3.54 | 8157.323 | 0.62 | 20.67 | Ordnr | Carbon | 1 | low N | y
56_8_18_2025 5_39_22 PM_047 | INT7 - 1 | 56 | 56 | 3.002 | 2.12 | 150.843 | 0.033 | 1.1 | Ordnr | Nitrogen | 0.01 | 3.44 | 15327.257 | 1.194 | 39.78 | Ordnr | Carbon | 1
Apple Leaves_8_18_2025 7_28_44 PM_048 | INT7 - 1 | Apple Leaves | Apple Leaves | 2.002 | 2.12 | 209.607 | 0.045 | 2.25 | Ordnr | Nitrogen | 0.017 | 3.46 | 12420.089 | 0.958 | 47.86 | Ordnr | Carbon | 1
271_8_18_2025 7_34_45 PM_049 | INT7 - 1 | 271 | 271 | 3.001 | 2.12 | 128.277 | 0.028 | 0.95 | Ordnr | Nitrogen | 0.01 | 3.46 | 13159.909 | 1.018 | 33.91 | Ordnr | Carbon | 1
272_8_18_2025 7_40_45 PM_050 | INT7 - 1 | 272 | 272 | 3.001 | 2.12 | 133.345 | 0.03 | 0.98 | Ordnr | Nitrogen | 0.012 | 3.5 | 11386.955 | 0.875 | 29.16 | Ordnr | Carbon | 1
273_8_18_2025 7_46_45 PM_051 | INT7 - 1 | 273 | 273 | 3.007 | 2.12 | 122.377 | 0.027 | 0.91 | Ordnr | Nitrogen | 0.007 | 3.42 | 17065.831 | 1.338 | 44.49 | Ordnr | Carbon | 1
302_8_18_2025 7_52_46 PM_052 | INT7 - 1 | 302 | 302 | 2.992 | 2.1 | 137.435 | 0.03 | 1.01 | Ordnr | Nitrogen | 0.017 | 3.52 | 8217.209 | 0.624 | 20.86 | Ordnr | Carbon | 1
303_8_18_2025 7_58_46 PM_053 | INT7 - 1 | 303 | 303 | 3.007 | 2.1 | 57.662 | 0.014 | 0.47 | Ordnr | Nitrogen | 0.014 | 3.6 | 4188.994 | 0.312 | 10.39 | Ordnr | Carbon | 1 | low N + C | Y
356_8_18_2025 8_04_46 PM_054 | INT7 - 1 | 356 | 356 | 2.994 | 2.12 | 135.217 | 0.03 | 1 | Ordnr | Nitrogen | 0.01 | 3.44 | 14113.547 | 1.095 | 36.58 | Ordnr | Carbon | 1
89_8_18_2025 8_10_47 PM_055 | INT7 - 1 | 89 | 89 | 3.007 | 2.12 | 62.047 | 0.015 | 0.5 | Ordnr | Nitrogen | 0.007 | 3.52 | 8959.426 | 0.683 | 22.7 | Ordnr | Carbon | 1 | low N | Y
90_8_18_2025 8_16_47 PM_056 | INT7 - 1 | 90 | 90 | 3.005 | 2.12 | 167.928 | 0.037 | 1.22 | Ordnr | Nitrogen | 0.011 | 3.44 | 14983.413 | 1.166 | 38.81 | Ordnr | Carbon | 1
171_8_18_2025 8_22_47 PM_057 | INT7 - 1 | 171 | 171 | 3.009 | 2.12 | 172.212 | 0.037 | 1.25 | Ordnr | Nitrogen | 0.025 | 3.56 | 7020.555 | 0.531 | 17.64 | Ordnr | Carbon | 1
172_8_18_2025 8_28_47 PM_058 | INT7 - 1 | 172 | 172 | 3.002 | 2.1 | 80.138 | 0.019 | 0.62 | Ordnr | Nitrogen | 0.024 | 3.62 | 3355.965 | 0.249 | 8.29 | Ordnr | Carbon | 1 | low N + C | y
173_8_18_2025 8_34_48 PM_059 | INT7 - 1 | 173 | 173 | 3.004 | 2.1 | 56.501 | 0.014 | 0.46 | Ordnr | Nitrogen | 0.023 | 3.64 | 2417.673 | 0.177 | 5.91 | Ordnr | Carbon | 1 | low N + C | y
Peach_8_18_2025 8_40_48 PM_060 | INT7 - 1 | Peach | Peach | 1.699 | 2.12 | 232.803 | 0.05 | 2.93 | Ordnr | Nitrogen | 0.022 | 3.5 | 10417.281 | 0.798 | 46.96 | Ordnr | Carbon | 1
270_8_18_2025 8_46_48 PM_061 | INT7 - 1 | 270 | 270 | 2.996 | 2.1 | 46.214 | 0.012 | 0.39 | Ordnr | Nitrogen | 0.019 | 3.64 | 2465.579 | 0.181 | 6.04 | Ordnr | Carbon | 1 | low N + C | y
69_8_18_2025 8_52_49 PM_062 | INT7 - 1 | 69 | 69 | 2.991 | 2.12 | 145.834 | 0.032 | 1.07 | Ordnr | Nitrogen | 0.013 | 3.5 | 11349.743 | 0.872 | 29.16 | Ordnr | Carbon | 1
71_8_18_2025 8_58_49 PM_063 | INT7 - 1 | 71 | 71 | 2.997 | 2.12 | 193.985 | 0.042 | 1.4 | Ordnr | Nitrogen | 0.011 | 3.42 | 17705.315 | 1.391 | 46.42 | Ordnr | Carbon | 1
72_8_18_2025 9_04_49 PM_064 | INT7 - 1 | 72 | 72 | 3.007 | 2.12 | 165.127 | 0.036 | 1.2 | Ordnr | Nitrogen | 0.014 | 3.48 | 12063.513 | 0.929 | 30.91 | Ordnr | Carbon | 1
79_8_18_2025 9_10_50 PM_065 | INT7 - 1 | 79 | 79 | 3.003 | 2.12 | 146.036 | 0.032 | 1.07 | Ordnr | Nitrogen | 0.008 | 3.42 | 17645.75 | 1.386 | 46.16 | Ordnr | Carbon | 1
80_8_18_2025 9_16_50 PM_066 | INT7 - 1 | 80 | 80 | 2.993 | 2.12 | 120.581 | 0.027 | 0.9 | Ordnr | Nitrogen | 0.008 | 3.44 | 15448.741 | 1.204 | 40.24 | Ordnr | Carbon | 1
81_8_18_2025 9_22_50 PM_067 | INT7 - 1 | 81 | 81 | 3.001 | 2.12 | 121.53 | 0.027 | 0.9 | Ordnr | Nitrogen | 0.012 | 3.5 | 10037.898 | 0.768 | 25.58 | Ordnr | Carbon | 1
88_8_18_2025 9_28_50 PM_068 | INT7 - 1 | 88 | 88 | 3.002 | 2.12 | 122.594 | 0.027 | 0.91 | Ordnr | Nitrogen | 0.008 | 3.44 | 15315.086 | 1.193 | 39.75 | Ordnr | Carbon | 1
164_8_18_2025 9_34_51 PM_069 | INT7 - 1 | 164 | 164 | 3.001 | 2.12 | 124.052 | 0.028 | 0.92 | Ordnr | Nitrogen | 0.016 | 3.54 | 7626.317 | 0.578 | 19.26 | Ordnr | Carbon | 1
228_8_18_2025 9_40_51 PM_070 | INT7 - 1 | 228 | 228 | 3.005 | 2.12 | 137.945 | 0.03 | 1.01 | Ordnr | Nitrogen | 0.008 | 3.4 | 18313.413 | 1.442 | 47.98 | Ordnr | Carbon | 1
229_8_18_2025 9_46_51 PM_071 | INT7 - 1 | 229 | 229 | 3.002 | 2.12 | 133.544 | 0.03 | 0.98 | Ordnr | Nitrogen | 0.008 | 3.42 | 17461.055 | 1.371 | 45.66 | Ordnr | Carbon | 1
Peach_8_18_2025 9_52_52 PM_072 | INT7 - 1 | Peach | Peach | 3.508 | 2.14 | 499.025 | 0.104 | 2.97 | Ordnr | Nitrogen | 0.024 | 3.4 | 20593.951 | 1.635 | 46.59 | Ordnr | Carbon | 1
230_8_18_2025 9_58_52 PM_073 | INT7 - 1 | 230 | 230 | 2.995 | 2.12 | 149.589 | 0.033 | 1.1 | Ordnr | Nitrogen | 0.009 | 3.42 | 17057.567 | 1.337 | 44.65 | Ordnr | Carbon | 1
231_8_18_2025 10_04_52 PM_074 | INT7 - 1 | 231 | 231 | 3.005 | 2.12 | 182.947 | 0.04 | 1.32 | Ordnr | Nitrogen | 0.012 | 3.44 | 15839.748 | 1.236 | 41.15 | Ordnr | Carbon | 1
233_8_18_2025 10_10_53 PM_075 | INT7 - 1 | 233 | 233 | 2.993 | 2.14 | 133.471 | 0.03 | 0.99 | Ordnr | Nitrogen | 0.008 | 3.42 | 17763.265 | 1.396 | 46.64 | Ordnr | Carbon | 1
234_8_18_2025 10_16_53 PM_076 | INT7 - 1 | 234 | 234 | 3.006 | 2.12 | 190.185 | 0.041 | 1.37 | Ordnr | Nitrogen | 0.011 | 3.42 | 17270.57 | 1.355 | 45.07 | Ordnr | Carbon | 1
235_8_18_2025 10_22_53 PM_077 | INT7 - 1 | 235 | 235 | 2.992 | 2.12 | 194.522 | 0.042 | 1.4 | Ordnr | Nitrogen | 0.016 | 3.48 | 12104.041 | 0.933 | 31.17 | Ordnr | Carbon | 1
274_8_18_2025 10_28_54 PM_078 | INT7 - 1 | 274 | 274 | 3.001 | 2.14 | 113.507 | 0.025 | 0.85 | Ordnr | Nitrogen | 0.006 | 3.42 | 17498.5 | 1.374 | 45.78 | Ordnr | Carbon | 1
275_8_18_2025 10_34_54 PM_079 | INT7 - 1 | 275 | 275 | 2.995 | 2.14 | 94.736 | 0.022 | 0.72 | Ordnr | Nitrogen | 0.006 | 3.42 | 17161.893 | 1.346 | 44.94 | Ordnr | Carbon | 1 | low N, close enough | N
276_8_18_2025 10_40_54 PM_080 | INT7 - 1 | 276 | 276 | 3.002 | 2.14 | 115.278 | 0.026 | 0.86 | Ordnr | Nitrogen | 0.007 | 3.42 | 17036.951 | 1.335 | 44.49 | Ordnr | Carbon | 1
277_8_18_2025 10_46_55 PM_081 | INT7 - 1 | 277 | 277 | 2.995 | 2.14 | 180.555 | 0.039 | 1.31 | Ordnr | Nitrogen | 0.011 | 3.44 | 16100.048 | 1.258 | 42 | Ordnr | Carbon | 1
278_8_18_2025 10_52_55 PM_082 | INT7 - 1 | 278 | 278 | 2.998 | 2.12 | 169.282 | 0.037 | 1.23 | Ordnr | Nitrogen | 0.013 | 3.46 | 12858.011 | 0.993 | 33.13 | Ordnr | Carbon | 1
291_8_18_2025 10_58_55 PM_083 | INT7 - 1 | 291 | 291 | 3 | 2.12 | 136.814 | 0.03 | 1.01 | Ordnr | Nitrogen | 0.009 | 3.44 | 15514.712 | 1.21 | 40.32 | Ordnr | Carbon | 1
Apple Leaves_8_18_2025 11_04_56 PM_084 | INT7 - 1 | Apple Leaves | Apple Leaves | 1.996 | 2.14 | 206.485 | 0.044 | 2.23 | Ordnr | Nitrogen | 0.017 | 3.48 | 12398.983 | 0.956 | 47.91 | Ordnr | Carbon | 1
306_8_18_2025 11_10_56 PM_085 | INT7 - 1 | 306 | 306 | 3.005 | 2.12 | 101.785 | 0.023 | 0.77 | Ordnr | Nitrogen | 0.025 | 3.62 | 4069.739 | 0.303 | 10.09 | Ordnr | Carbon | 1 | low C | Y
310_8_18_2025 11_16_56 PM_086 | INT7 - 1 | 310 | 310 | 2.997 | 2.12 | 69.92 | 0.017 | 0.55 | Ordnr | Nitrogen | 0.016 | 3.62 | 4317.387 | 0.322 | 10.75 | Ordnr | Carbon | 1 | low N + C | Y
311_8_18_2025 11_22_56 PM_087 | INT7 - 1 | 311 | 311 | 3.001 | 2.12 | 157.777 | 0.035 | 1.15 | Ordnr | Nitrogen | 0.01 | 3.44 | 15066.953 | 1.173 | 39.09 | Ordnr | Carbon | 1
312_8_18_2025 11_28_57 PM_088 | INT7 - 1 | 312 | 312 | 2.998 | 2.1 | 81.216 | 0.019 | 0.63 | Ordnr | Nitrogen | 0.023 | 3.62 | 3462.148 | 0.257 | 8.57 | Ordnr | Carbon | 1 | low N + C | Y
315_8_18_2025 11_34_57 PM_089 | INT7 - 1 | 315 | 315 | 2.997 | 2.14 | 213.112 | 0.046 | 1.53 | Ordnr | Nitrogen | 0.013 | 3.44 | 15953.904 | 1.246 | 41.57 | Ordnr | Carbon | 1
321_8_18_2025 11_40_58 PM_090 | INT7 - 1 | 321 | 321 | 3 | 2.12 | 108.141 | 0.024 | 0.81 | Ordnr | Nitrogen | 0.014 | 3.56 | 7580.725 | 0.574 | 19.15 | Ordnr | Carbon | 1
322_8_18_2025 11_46_58 PM_091 | INT7 - 1 | 322 | 322 | 3 | 2.12 | 127.037 | 0.028 | 0.94 | Ordnr | Nitrogen | 0.014 | 3.52 | 8984.016 | 0.684 | 22.82 | Ordnr | Carbon | 1
342_8_18_2025 11_52_58 PM_092 | INT7 - 1 | 342 | 342 | 2.985 | 2.14 | 105.211 | 0.024 | 0.8 | Ordnr | Nitrogen | 0.007 | 3.44 | 16022.302 | 1.252 | 41.93 | Ordnr | Carbon | 1
357_8_18_2025 11_58_59 PM_093 | INT7 - 1 | 357 | 357 | 3.009 | 2.12 | 102.819 | 0.023 | 0.77 | Ordnr | Nitrogen | 0.011 | 3.52 | 9631.408 | 0.736 | 24.45 | Ordnr | Carbon | 1
358_8_19_2025 12_04_59 AM_094 | INT7 - 1 | 358 | 358 | 2.999 | 2.1 | 74.984 | 0.018 | 0.59 | Ordnr | Nitrogen | 0.012 | 3.58 | 6115.248 | 0.461 | 15.36 | Ordnr | Carbon | 1 | low N | Y
361_8_19_2025 12_10_59 AM_095 | INT7 - 1 | 361 | 361 | 2.994 | 2.1 | 66.535 | 0.016 | 0.53 | Ordnr | Nitrogen | 0.016 | 3.62 | 4159.683 | 0.31 | 10.36 | Ordnr | Carbon | 1 | low N + C | Y
Peach_8_19_2025 12_17_00 AM_096 | INT7 - 1 | Peach | Peach | 1.701 | 2.12 | 236.551 | 0.051 | 2.98 | Ordnr | Nitrogen | 0.023 | 3.5 | 10448.639 | 0.8 | 47.05 | Ordnr | Carbon | 1